## Inventory
Aras | Sistem | Jenis (Type) | Kuantiti
L37 | 3.0 LIFT | LIFT - HIGH ZONE | 6
L37 | 1.0 ACMV | AIR CONDITIONING SPLIT UNIT | 4
L37 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 37 | 1
L37 | 2.0 Fire Fighting system | CO2 ARAS 37 | 1
L37 | 3.0 LIFT | LIFT - FIRE 1 | 1
L36 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 36 | 5
L36 | 2.0 Fire Fighting system | CO2 ARAS 36 | 4
L36 | 1.0 ACMV | AXIAL | 3
L36 | 1.0 ACMV | AIR COOLED CHILLER - CH4 | 1
L36 | 1.0 ACMV | AIR COOLED CHILLER - CH5 | 1
L36 | 1.0 ACMV | CHILLED WATER PUMP - CHWP4 | 1
L36 | 1.0 ACMV | CHILLED WATER PUMP - CHWP5 | 1
L36 | 1.0 ACMV | HEAT RECOVERY WHEEL | 1
L36 | 1.0 ACMV | SECONDARY CHILLED WATER EXPANSION TANK | 1
L36 | 1.0 ACMV | SMOKE SPILL FAN | 1
L36 | 2.0 Fire Fighting system | HOSE REEL DUTY PUMP | 1
L36 | 2.0 Fire Fighting system | HOSE REEL PUMP CONTROL PANEL | 1
L36 | 2.0 Fire Fighting system | HOSE REEL STANDBY PUMP | 1
L36 | 2.0 Fire Fighting system | HOSEREEL WATER TANK STORAGE | 1
L36 | 4.0 Gondola | GONDOLA | 1
L36 | 5.0 Cold Water Supply | DCW STORAGE TANK 1(BASIN) | 1
L36 | 5.0 Cold Water Supply | DCW STORAGE TANK 2(WC & URINAL) | 1
L36 | 5.0 Cold Water Supply | DOMESTIC COLD WATER BOOSTER PUMP ( WASH BASIN) | 1
L36 | 5.0 Cold Water Supply | DOMESTIC COLD WATER BOOSTER PUMP (WC FLUSH VALVE) | 1
L36 | 9.0 Other Mechanical | RAINWATER HARVESTING TANK | 1
L36 | 9.0 Other Mechanical | TREATED WASTE WATER ROOF STORAGE TANK(WC&URINAL) | 1
L35 | 1.0 ACMV | VARIABLE AIR VOLUME | 6
L35 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 35 | 5
L35 | 1.0 ACMV | FAN COIL UNIT | 3
L35 | 2.0 Fire Fighting system | CO2 ARAS 35 | 3
L35 | 1.0 ACMV | AIR HANDLING UNIT | 2
L35 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L35 | 9.0 Other Mechanical | HAND DRYER | 2
L34 | 1.0 ACMV | VARIABLE AIR VOLUME | 8
L34 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 34 | 5
L34 | 1.0 ACMV | FAN COIL UNIT | 3
L34 | 2.0 Fire Fighting system | CO2 ARAS 34 | 3
L34 | 1.0 ACMV | AIR HANDLING UNIT | 2
L34 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L34 | 9.0 Other Mechanical | HAND DRYER | 2
L33 | 1.0 ACMV | VARIABLE AIR VOLUME | 8
L33 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 33 | 5
L33 | 1.0 ACMV | FAN COIL UNIT | 3
L33 | 2.0 Fire Fighting system | CO2 ARAS 33 | 3
L33 | 1.0 ACMV | AIR HANDLING UNIT | 2
L33 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L33 | 9.0 Other Mechanical | HAND DRYER | 2
L33 | 1.0 ACMV | CENTRIFUGAL IN LINE FAN | 1
L32 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L32 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 32 | 6
L32 | 1.0 ACMV | FAN COIL UNIT | 3
L32 | 2.0 Fire Fighting system | CO2 ARAS 32 | 3
L32 | 1.0 ACMV | AIR HANDLING UNIT | 2
L32 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L32 | 9.0 Other Mechanical | HAND DRYER | 2
L31 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L31 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 31 | 6
L31 | 2.0 Fire Fighting system | CO2 ARAS 31 | 3
L31 | 1.0 ACMV | AIR HANDLING UNIT | 2
L31 | 1.0 ACMV | FAN COIL UNIT | 2
L31 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L31 | 9.0 Other Mechanical | HAND DRYER | 2
L30 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L30 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 30 | 6
L30 | 2.0 Fire Fighting system | CO2 ARAS 30 | 3
L30 | 1.0 ACMV | AIR HANDLING UNIT | 2
L30 | 1.0 ACMV | FAN COIL UNIT | 2
L30 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L30 | 9.0 Other Mechanical | HAND DRYER | 2
L29 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L29 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 29 | 6
L29 | 2.0 Fire Fighting system | CO2 ARAS 29 | 3
L29 | 1.0 ACMV | AIR HANDLING UNIT | 2
L29 | 1.0 ACMV | FAN COIL UNIT | 2
L29 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L29 | 9.0 Other Mechanical | HAND DRYER | 2
L28 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L28 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 28 | 6
L28 | 2.0 Fire Fighting system | CO2 ARAS 28 | 3
L28 | 1.0 ACMV | AIR HANDLING UNIT | 2
L28 | 1.0 ACMV | FAN COIL UNIT | 2
L28 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L28 | 9.0 Other Mechanical | HAND DRYER | 2
L27 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L27 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 27 | 6
L27 | 2.0 Fire Fighting system | CO2 ARAS 27 | 3
L27 | 1.0 ACMV | AIR HANDLING UNIT | 2
L27 | 1.0 ACMV | FAN COIL UNIT | 2
L27 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L27 | 9.0 Other Mechanical | HAND DRYER | 2
L26 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L26 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 26 | 6
L26 | 2.0 Fire Fighting system | CO2 ARAS 26 | 3
L26 | 1.0 ACMV | AIR HANDLING UNIT | 2
L26 | 1.0 ACMV | FAN COIL UNIT | 2
L26 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L26 | 9.0 Other Mechanical | HAND DRYER | 2
L25 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L25 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 25 | 6
L25 | 2.0 Fire Fighting system | CO2 ARAS 25 | 3
L25 | 1.0 ACMV | AIR HANDLING UNIT | 2
L25 | 1.0 ACMV | FAN COIL UNIT | 2
L25 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L25 | 9.0 Other Mechanical | HAND DRYER | 2
L24 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L24 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 24 | 6
L24 | 2.0 Fire Fighting system | CO2 ARAS 24 | 3
L24 | 1.0 ACMV | AIR HANDLING UNIT | 2
L24 | 1.0 ACMV | FAN COIL UNIT | 2
L24 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L24 | 9.0 Other Mechanical | HAND DRYER | 2
L23 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L23 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 23 | 6
L23 | 2.0 Fire Fighting system | CO2 ARAS 23 | 3
L23 | 1.0 ACMV | AIR HANDLING UNIT | 2
L23 | 1.0 ACMV | FAN COIL UNIT | 2
L23 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L23 | 9.0 Other Mechanical | HAND DRYER | 2
L22 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L22 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 22 | 6
L22 | 2.0 Fire Fighting system | CO2 ARAS 22 | 3
L22 | 1.0 ACMV | AIR HANDLING UNIT | 2
L22 | 1.0 ACMV | FAN COIL UNIT | 2
L22 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L22 | 9.0 Other Mechanical | HAND DRYER | 2
L21 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L21 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 21 | 6
L21 | 2.0 Fire Fighting system | CO2 ARAS 21 | 3
L21 | 1.0 ACMV | AIR HANDLING UNIT | 2
L21 | 1.0 ACMV | FAN COIL UNIT | 2
L21 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L21 | 9.0 Other Mechanical | HAND DRYER | 2
L20 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L20 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 20 | 6
L20 | 2.0 Fire Fighting system | CO2 ARAS 20 | 3
L20 | 1.0 ACMV | AIR HANDLING UNIT | 2
L20 | 1.0 ACMV | FAN COIL UNIT | 2
L20 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L20 | 9.0 Other Mechanical | HAND DRYER | 2
L19 | 1.0 ACMV | VARIABLE AIR VOLUME | 6
L19 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 19 | 6
L19 | 1.0 ACMV | FAN COIL UNIT | 4
L19 | 2.0 Fire Fighting system | FM 200 SYSTEM | 4
L19 | 2.0 Fire Fighting system | VESDA SYSTEM | 4
L19 | 2.0 Fire Fighting system | CO2 ARAS 19 | 3
L19 | 9.0 Other Mechanical | FIRE RATED ROLLER SHUTTER -1 | 2
L19 | 9.0 Other Mechanical | FIRE RATED ROLLER SHUTTER -2 | 2
L19 | 9.0 Other Mechanical | HAND DRYER | 2
L19 | 1.0 ACMV | AIR HANDLING UNIT | 1
L19 | 1.0 ACMV | PRECISION AIR CONDITIONING -1 | 1
L19 | 1.0 ACMV | PRECISION AIR CONDITIONING -2 | 1
L19 | 1.0 ACMV | PRECISION AIR CONDITIONING -3 | 1
L19 | 1.0 ACMV | VARIABLE SPEED DRIVE | 1
L18 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 18 | 7
L18 | 3.0 LIFT | LIFT - LOW ZONE | 6
L18 | 2.0 Fire Fighting system | CO2 ARAS 18 | 5
L18 | 1.0 ACMV | AXIAL | 4
L18 | 1.0 ACMV | PRESSURISATION FAN | 4
L18 | 2.0 Fire Fighting system | FM 200 SYSTEM | 2
L18 | 1.0 ACMV | SMOKE SPILL FAN | 2
L18 | 1.0 ACMV | HEAT RECOVERY WHEEL | 1
L18 | 1.0 ACMV | SECONDARY CHILLED WATER PUMP - SCHWP1 | 1
L18 | 1.0 ACMV | SECONDARY CHILLED WATER PUMP - SCHWP2 | 1
L18 | 1.0 ACMV | SECONDARY CHILLED WATER PUMP - SCHWP3 | 1
L18 | 1.0 ACMV | PLATE HEAT EXCHANGER - HEX1 | 1
L18 | 1.0 ACMV | SMOKESPILL AXIAL | 1
L18 | 1.0 ACMV | COOLING TOWER MAKE UP WATER STORAGE TANK | 1
L18 | 1.0 ACMV | CHILLED WATER EXPANSION TANK | 1
L18 | 1.0 ACMV | FAN COIL UNIT | 1
L18 | 2.0 Fire Fighting system | SPRINKLER DUTY PUMP - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER DUTY PUMP - STAGE 4 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER JOCKEY PUMP - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER JOCKEY PUMP - STAGE 4 | 1
L18 | 1.0 ACMV | PLATE HEAT EXCHANGER - HEX2 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER PUMP CONTROL PANEL - STAGE 4 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER STANDBY PUMP - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER STANDBY PUMP - STAGE 4 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER TANK | 1
L18 | 2.0 Fire Fighting system | WET RISER DUTY PUMP - STAGE 2 | 1
L18 | 2.0 Fire Fighting system | SPRINKLER PUMP CONTROL PANEL - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | WET RISER INTERMEDIATE TANK | 1
L18 | 2.0 Fire Fighting system | WET RISER JOCKEY PUMP - STAGE 2 | 1
L18 | 2.0 Fire Fighting system | WET RISER JOCKEY PUMP - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | WET RISER PUMP CONTROL PANEL - STAGE 2 | 1
L18 | 2.0 Fire Fighting system | WET RISER PUMP CONTROL PANEL STAGE 3 | 1
L18 | 2.0 Fire Fighting system | WET RISER STANDBY PUMP - STAGE 2 | 1
L18 | 2.0 Fire Fighting system | WET RISER STANDBY PUMP - STAGE 3 | 1
L18 | 2.0 Fire Fighting system | WET RISER DUTY PUMP - STAGE 3 | 1
L18 | 5.0 Cold Water Supply | COLD WATER INTERMIDIATE SUCTION PUMP | 1
L18 | 5.0 Cold Water Supply | DCW INTERMEDIATE STORAGE TANK 1(BASIN) | 1
L18 | 5.0 Cold Water Supply | DCW INTERMEDIATE STORAGE TANK 2(WC & URINAL) | 1
L18 | 5.0 Cold Water Supply | DCW INTERMEDIATE SUCTION TANK | 1
L18 | 9.0 Other Mechanical | TREATED GREY WATER INTERMEDIATE PUMP SET | 1
L18 | 9.0 Other Mechanical | TREATED WASTE WATER INTERMEDIATE TANK | 1
L17 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L17 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 17 | 5
L17 | 2.0 Fire Fighting system | CO2 ARAS 17 | 3
L17 | 1.0 ACMV | AIR HANDLING UNIT | 2
L17 | 1.0 ACMV | FAN COIL UNIT | 2
L17 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L17 | 9.0 Other Mechanical | HAND DRYER | 2
L16 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L16 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 16 | 5
L16 | 2.0 Fire Fighting system | CO2 ARAS 16 | 3
L16 | 1.0 ACMV | AIR HANDLING UNIT | 2
L16 | 1.0 ACMV | FAN COIL UNIT | 2
L16 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L16 | 9.0 Other Mechanical | HAND DRYER | 2
L15 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L15 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 15 | 5
L15 | 2.0 Fire Fighting system | CO2 ARAS 15 | 3
L15 | 1.0 ACMV | AIR HANDLING UNIT | 2
L15 | 1.0 ACMV | FAN COIL UNIT | 2
L15 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L15 | 9.0 Other Mechanical | HAND DRYER | 2
L14 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L14 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 14 | 5
L14 | 2.0 Fire Fighting system | CO2 ARAS 14 | 3
L14 | 1.0 ACMV | AIR HANDLING UNIT | 2
L14 | 1.0 ACMV | FAN COIL UNIT | 2
L14 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L14 | 9.0 Other Mechanical | HAND DRYER | 2
L13 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L13 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 13 | 5
L13 | 2.0 Fire Fighting system | CO2 ARAS 13 | 3
L13 | 1.0 ACMV | AIR HANDLING UNIT | 2
L13 | 1.0 ACMV | FAN COIL UNIT | 2
L13 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L13 | 9.0 Other Mechanical | HAND DRYER | 2
L12 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L12 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 12 | 5
L12 | 2.0 Fire Fighting system | CO2 ARAS 12 | 3
L12 | 1.0 ACMV | AIR HANDLING UNIT | 2
L12 | 1.0 ACMV | FAN COIL UNIT | 2
L12 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L12 | 9.0 Other Mechanical | HAND DRYER | 2
L11 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L11 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 11 | 5
L11 | 2.0 Fire Fighting system | CO2 ARAS 11 | 3
L11 | 1.0 ACMV | AIR HANDLING UNIT | 2
L11 | 1.0 ACMV | FAN COIL UNIT | 2
L11 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L11 | 9.0 Other Mechanical | HAND DRYER | 2
L10 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L10 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 10 | 5
L10 | 2.0 Fire Fighting system | CO2 ARAS 10 | 3
L10 | 1.0 ACMV | AIR HANDLING UNIT | 2
L10 | 1.0 ACMV | FAN COIL UNIT | 2
L10 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L10 | 9.0 Other Mechanical | HAND DRYER | 2
L9 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L9 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 9 | 5
L9 | 2.0 Fire Fighting system | CO2 ARAS 9 | 3
L9 | 1.0 ACMV | AIR HANDLING UNIT | 2
L9 | 1.0 ACMV | FAN COIL UNIT | 2
L9 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L9 | 9.0 Other Mechanical | HAND DRYER | 2
L8 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L8 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 8 | 5
L8 | 2.0 Fire Fighting system | CO2 ARAS 8 | 3
L8 | 1.0 ACMV | AIR HANDLING UNIT | 2
L8 | 1.0 ACMV | FAN COIL UNIT | 2
L8 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L8 | 9.0 Other Mechanical | HAND DRYER | 2
L7 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L7 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 7 | 5
L7 | 2.0 Fire Fighting system | CO2 ARAS 7 | 3
L7 | 1.0 ACMV | AIR HANDLING UNIT | 2
L7 | 1.0 ACMV | FAN COIL UNIT | 2
L7 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L7 | 9.0 Other Mechanical | HAND DRYER | 2
L6 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L6 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 6 | 5
L6 | 2.0 Fire Fighting system | CO2 ARAS 6 | 3
L6 | 1.0 ACMV | AIR HANDLING UNIT | 2
L6 | 1.0 ACMV | FAN COIL UNIT | 2
L6 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L6 | 9.0 Other Mechanical | HAND DRYER | 2
L5 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L5 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 5 | 5
L5 | 2.0 Fire Fighting system | CO2 ARAS 5 | 3
L5 | 1.0 ACMV | AIR HANDLING UNIT | 2
L5 | 1.0 ACMV | FAN COIL UNIT | 2
L5 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L5 | 9.0 Other Mechanical | HAND DRYER | 2
L4 | 1.0 ACMV | VARIABLE AIR VOLUME | 12
L4 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 4 | 5
L4 | 2.0 Fire Fighting system | CO2 ARAS 4 | 3
L4 | 1.0 ACMV | AIR HANDLING UNIT | 2
L4 | 1.0 ACMV | FAN COIL UNIT | 2
L4 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L4 | 9.0 Other Mechanical | HAND DRYER | 2
L3 | 1.0 ACMV | VARIABLE AIR VOLUME | 10
L3 | 1.0 ACMV | AIR COOLED SPLIT UNIT | 8
L3 | 2.0 Fire Fighting system | ABC DRY POWDER CAFE L3 | 8
L3 | 2.0 Fire Fighting system | WET CHEMICAL SYSTEM | 6
L3 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 3 | 5
L3 | 2.0 Fire Fighting system | CO2 ARAS 3 | 3
L3 | 1.0 ACMV | PRESSURISATION FAN | 3
L3 | 9.0 Other Mechanical | HAND DRYER | 2
L3 | 1.0 ACMV | AIR CURTAIN 5 ( 3’ ) | 2
L3 | 1.0 ACMV | AIR CURTAIN 6 ( 3’ ) | 2
L3 | 1.0 ACMV | AIR CURTAIN 7 ( 3’ ) | 2
L3 | 1.0 ACMV | AIR HANDLING UNIT | 2
L3 | 1.0 ACMV | AXIAL | 2
L3 | 1.0 ACMV | BIRFUCATED | 2
L3 | 1.0 ACMV | FAN COIL UNIT | 2
L3 | 1.0 ACMV | AIR CURTAIN 1 ( 4’ & 3’ ) | 2
L3 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
L3 | 1.0 ACMV | AIR CURTAIN 2 ( 4’ & 3’ ) | 2
L3 | 1.0 ACMV | AIR CURTAIN 4 ( 4’ & 3’ ) | 2
L3 | 1.0 ACMV | AIR CURTAIN 3 ( 4’ & 3’ ) | 2
L3 | 1.0 ACMV | WATER FILTER | 1
L3 | 1.0 ACMV | AIR CURTAIN 1 ( 3’ ) | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 1 | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 2 | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 3 | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 4 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 9 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 8 | 1
L3 | 1.0 ACMV | AIR CURTAIN 2 ( 3’ ) | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 10 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 11 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 12 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 13 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 14 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 3 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 4 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 5 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 6 | 1
L3 | 9.0 Other Mechanical | ROLLER SHUTTER 7 | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 6 | 1
L3 | 7.0 Kitchen Equipment | KITCHEN EXHAUST HOOD 5 | 1
L2 | 1.0 ACMV | VARIABLE REFRIGERANT FLOW | 23
L2 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 2 | 5
L2 | 2.0 Fire Fighting system | ABC DRY POWDER P7A | 5
L2 | 2.0 Fire Fighting system | ABC DRY POWDER P7 | 3
L2 | 2.0 Fire Fighting system | CO2 ARAS 2 | 3
L2 | 2.0 Fire Fighting system | CO2 P7A | 3
L2 | 1.0 ACMV | FAN COIL UNIT | 2
L2 | 9.0 Other Mechanical | HAND DRYER | 2
L2 | 1.0 ACMV | PROPELLER | 1
L2 | 2.0 Fire Fighting system | HYDRANT PILLAR 3 | 1
L1 | 1.0 ACMV | VARIABLE REFRIGERANT FLOW | 24
L1 | 2.0 Fire Fighting system | ABC DRY POWDER P6A | 7
L1 | 2.0 Fire Fighting system | ABC DRY POWDER ARAS 1 | 5
L1 | 2.0 Fire Fighting system | ABC DRY POWDER P5A | 5
L1 | 2.0 Fire Fighting system | ABC DRY POWDER P6 | 4
L1 | 2.0 Fire Fighting system | ABC DRY POWDER P5 | 3
L1 | 2.0 Fire Fighting system | CO2 ARAS 1 | 3
L1 | 2.0 Fire Fighting system | CO2 P6A | 3
L1 | 1.0 ACMV | FAN COIL UNIT | 2
L1 | 2.0 Fire Fighting system | CO2 P5A | 2
L1 | 9.0 Other Mechanical | HAND DRYER | 2
L1 | 1.0 ACMV | COOLING TOWER - CT1 | 1
L1 | 1.0 ACMV | COOLING TOWER - CT2 | 1
L1 | 1.0 ACMV | COOLING TOWER - CT3 | 1
L1 | 1.0 ACMV | NON CHEMICAL WATER TREATMENT 1 | 1
L1 | 1.0 ACMV | NON CHEMICAL WATER TREATMENT 2 | 1
L1 | 7.0 Kitchen Equipment | LPG SYSTEM | 1
LP1 | 1.0 ACMV | JET FAN | 9
LP1 | 2.0 Fire Fighting system | ABC DRY POWDER P1 | 9
LP1 | 2.0 Fire Fighting system | ABC DRY POWDER P2A | 7
LP1 | 2.0 Fire Fighting system | CO2 P1 | 6
LP1 | 1.0 ACMV | SMOKE SPILL FAN | 6
LP1 | 2.0 Fire Fighting system | ABC DRY POWDER P1A | 6
LP1 | 1.0 ACMV | AXIAL | 5
LP1 | 2.0 Fire Fighting system | ABC DRY POWDER PLAZA | 5
LP1 | 1.0 ACMV | FAN COIL UNIT | 4
LP1 | 2.0 Fire Fighting system | FM 200 SYSTEM | 4
LP1 | 1.0 ACMV | AIR COOLED SPLIT UNIT | 4
LP1 | 2.0 Fire Fighting system | ABC DRY POWDER P2 | 3
LP1 | 9.0 Other Mechanical | HAND DRYER | 2
LP1 | 2.0 Fire Fighting system | CO2 PLAZA | 2
LP1 | 2.0 Fire Fighting system | CO2 P2A | 2
LP1 | 2.0 Fire Fighting system | CO2 P1A | 1
LP1 | 2.0 Fire Fighting system | FIREMAN INTERCOM PANEL | 1
LP1 | 1.0 ACMV | EMS SERVER WORK STATION | 1
LP1 | 2.0 Fire Fighting system | HYDRANT PILLAR 1 | 1
LP1 | 2.0 Fire Fighting system | HYDRANT PILLAR 2 | 1
LP1 | 2.0 Fire Fighting system | MAIN FIRE ALARM PANEL C/W PC | 1
LP1 | 2.0 Fire Fighting system | SPKA - BOMBA LINK | 1
LP1 | 2.0 Fire Fighting system | SPRINKLER DUTY PUMP - STAGE 2 | 1
LP1 | 2.0 Fire Fighting system | SPRINKLER JOCKEY PUMP - STAGE 2 | 1
LP1 | 9.0 Other Mechanical | ROLLER SHUTTER 2 | 1
LP1 | 2.0 Fire Fighting system | SPRINKLER STANDBY PUMP - STAGE 2 | 1
LP1 | 2.0 Fire Fighting system | SPRINKLER SYSTEM STAGE 1 (GRAVITY) | 1
LP1 | 2.0 Fire Fighting system | WET RISER DUTY PUMP - STAGE 1 | 1
LP1 | 2.0 Fire Fighting system | WET RISER JOCKEY PUMP - STAGE 1 | 1
LP1 | 2.0 Fire Fighting system | WET RISER PUMP CONTROL PANEL -STAGE 1 | 1
LP1 | 2.0 Fire Fighting system | WET RISER STANDBY PUMP - STAGE 1 | 1
LP1 | 3.0 LIFT | BMS SERVER WORK STATION | 1
LP1 | 3.0 LIFT | LIFT - FIRE 2 | 1
LP1 | 3.0 LIFT | LIFT PC AND INTERCOM | 1
LP1 | 1.0 ACMV | CENTRIFUGAL JET FAN | 1
LP1 | 9.0 Other Mechanical | RAIN WATER HARVESTING OSD PUMP SET (PLAZA) | 1
LP1 | 9.0 Other Mechanical | ROLLER SHUTTER 1 | 1
LP1 | 2.0 Fire Fighting system | SPRINKLER PUMP CONTROL PANEL - STAGE 2 | 1
LM | 1.0 ACMV | JET FAN | 14
LM | 2.0 Fire Fighting system | ABC DRY POWDER P4A | 10
LM | 1.0 ACMV | VARIABLE AIR VOLUME | 8
LM | 1.0 ACMV | SMOKE SPILL FAN | 8
LM | 2.0 Fire Fighting system | ABC DRY POWDER P3A | 7
LM | 2.0 Fire Fighting system | ABC DRY POWDER MEZZ | 5
LM | 2.0 Fire Fighting system | CO2 P4A | 5
LM | 2.0 Fire Fighting system | ABC DRY POWDER P4 | 4
LM | 1.0 ACMV | AXIAL | 3
LM | 2.0 Fire Fighting system | ABC DRY POWDER P3 | 3
LM | 1.0 ACMV | AUTO TUBE BRUSHING SYSTEM CHILLER 1 | 3
LM | 1.0 ACMV | FAN COIL UNIT | 2
LM | 9.0 Other Mechanical | HAND DRYER | 2
LM | 2.0 Fire Fighting system | CO2 MEZZ | 2
LM | 2.0 Fire Fighting system | CO2 P3A | 2
LM | 1.0 ACMV | CHILLED WATER PUMP - CHWP3 | 1
LM | 1.0 ACMV | CONDENSER WATER PUMP - CWP1 | 1
LM | 1.0 ACMV | CONDENSER WATER PUMP - CWP2 | 1
LM | 1.0 ACMV | CONDENSER WATER PUMP - CWP3 | 1
LM | 1.0 ACMV | AIR HANDLING UNIT | 1
LM | 1.0 ACMV | REFRIGERANT LEAK DETECTOR 1 | 1
LM | 1.0 ACMV | REFRIGERANT LEAK DETECTOR 2 | 1
LM | 1.0 ACMV | REFRIGERANT LEAK DETECTOR 3 | 1
LM | 1.0 ACMV | CENTRIFUGAL JET FAN | 1
LM | 1.0 ACMV | PROPELLER | 1
LM | 1.0 ACMV | VARIABLE SPEED DRIVE | 1
LM | 1.0 ACMV | WATER COOLED CHILLER - CH1 | 1
LM | 1.0 ACMV | WATER COOLED CHILLER - CH2 | 1
LM | 1.0 ACMV | WATER COOLED CHILLER - CH3 | 1
LM | 1.0 ACMV | CHILLED WATER PUMP - CHWP1 | 1
LM | 2.0 Fire Fighting system | CO2 P4 | 1
LM | 2.0 Fire Fighting system | FM 200 SYSTEM | 1
LM | 5.0 Cold Water Supply | COLD WATER TANK - 001 | 1
LM | 5.0 Cold Water Supply | DOMESTIC COLD WATER SUCTION PUMP | 1
LM | 1.0 ACMV | CHILLED WATER PUMP - CHWP2 | 1
LB1 | 2.0 Fire Fighting system | ABC DRY POWDER B1 | 17
LB1 | 1.0 ACMV | JET FAN | 14
LB1 | 1.0 ACMV | SMOKESPILL VANE AXIAL | 6
LB1 | 2.0 Fire Fighting system | CO2 B1 | 6
LB1 | 1.0 ACMV | AIR COOLED SPLIT UNIT | 5
LB1 | 1.0 ACMV | FAN COIL UNIT | 4
LB1 | 1.0 ACMV | AIR HANDLING UNIT | 2
LB1 | 1.0 ACMV | CENTRIFUGAL JET FAN | 2
LB1 | 1.0 ACMV | PROPELLER | 2
LB1 | 1.0 ACMV | VARIABLE SPEED DRIVE | 2
LB1 | 1.0 ACMV | AXIAL | 1
LB1 | 9.0 Other Mechanical | SUMP PUMP NO.1 | 1
LB2 | 2.0 Fire Fighting system | ABC DRY POWDER B2 | 17
LB2 | 1.0 ACMV | JET FAN | 14
LB2 | 1.0 ACMV | SMOKESPILL VANE AXIAL | 6
LB2 | 2.0 Fire Fighting system | CO2 B2 | 6
LB2 | 1.0 ACMV | AIR COOLED SPLIT UNIT | 4
LB2 | 1.0 ACMV | FAN COIL UNIT | 4
LB2 | 1.0 ACMV | CENTRIFUGAL JET FAN | 2
LB2 | 1.0 ACMV | PROPELLER | 2
LB2 | 3.0 LIFT | LIFT - BASEMENT | 2
LB2 | 5.0 Cold Water Supply | GREY WATER HARVESTING FILTER SYSTEM | 1
LB2 | 5.0 Cold Water Supply | GREY WATER SUCTION PUMP SET | 1
LB2 | 8.0 Irrigation and landscape | IRRIGATION WATER PUMP SET | 1
LB2 | 9.0 Other Mechanical | RAIN WATER HARVESTING FILTER SYSTEM | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.1 | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.2 | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.3 | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.4 | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.5 | 1
LB2 | 9.0 Other Mechanical | SUMP PUMP NO.6 | 1